## bid unit tab
ALASKA ENERGY AUTHORITY |  |  |  | BID SCHEDULE
INVITATION TO BID 15113 |  |  |  | Addendum 1
Rural Power System Upgrade on behalf of the City of Akiak
Read carefully "Information to Bidders prior to preparing this Bid Schedule. Bidders are required to bid on all bid items and include unit prices. Unit prices shall be stated in U.S. dollar figures opposite each item that appears the Bid Schedule. No price is to be entered or tendered for any item not appearing in the Bid Schedule. Conditioned or Qualified Bids will be considered non-responsive.
| UNIT | DESCRIPTION | QTY | UNIT | LABOR COST PER UNIT | EXTENDED LABOR COST
1 | #2 ACSR | OH PRIMARY - SPARATE | 30100 | FOOT |  | 0
2 | #2 TRIPLEX | SECONDARY CABLE | 2950 | FOOT |  | 0
3 | 1/0 TRIPLEX | SECONDARY CABLE | 6500 | FOOT |  | 0
4 | 45/4 | POLE | 57 | EACH |  | 0
5 | 40/4 | POLE | 33 | EACH |  | 0
6 | 40/- or SMALLER | POLE (RE-USED POLE) | 13 | EACH |  | 0
7 | A1A | TANGENT | 15 | EACH |  | 0
8 | A2 | SMALL ANGLE | 7 | EACH |  | 0
9 | A3 | LARGE ANGLE | 1 | EACH |  | 0
10 | A5 | DEADEND | 9 | EACH |  | 0
11 | A5-1 | DEADEND TAP | 1 | EACH |  | 0
12 | A5-2 | DEADEND TAP | 1 | EACH |  | 0
13 | A7X | DEADEND (ON BACKSIDE OF C7-1R) | 4 | EACH |  | 0
14 | A7-1 | DEADEND | 3 | EACH |  | 0
15 | A9 | SMALL ANGLE | 1 | EACH |  | 0
16 | A9-1 | TANGENT | 1 | EACH |  | 0
17 | C1AR | TANGENT | 14 | EACH |  | 0
18 | C2R | SMALL ANGLE | 1 | EACH |  | 0
19 | C7-1R | DEADEND | 7 | EACH |  | 0
20 | C7-2A | DEADEND | 1 | EACH |  | 0
21 | C9-1 | TANGENT | 2 | EACH |  | 0
22 | C10 | ALLEY ARMS | 2 | EACH |  | 0
23 | E1-3 | DOWN GUY | 98 | EACH |  | 0
24 | E2-3 | SPAN GUY | 10 | EACH |  | 0
25 | F1-4P | PLATE ANCHOR | 90 | EACH |  | 0
26 | G105-10 | 10 KVA XFMR | 17 | EACH |  | 0
27 | G105-15 | 15 KVA XFMR | 5 | EACH |  | 0
28 | G136-10 | 10 KVA XFMR | 14 | EACH |  | 0 | 36
29 | G136-15 | 15 KVA XFMR | 4 | EACH |  | 0 | 10
30 | G312 10-10-10 | XFMR BANK | 1 | EACH |  | 0
31 | G312X 10-15-10 | XFMR BANK | 1 | EACH |  | 0
32 | GUARD POST | GUARD POST (RE-USED POLE) | 1 | EACH |  | 0
33 | INTERMEDIATE MAST | INTERMEDIATE MAST | 1 | EACH |  | 0
34 | J5 | SECONDARY ATTACHMENT | 7 | EACH |  | 0
35 | J6 | SECONDARY ATTACHMENT | 135 | EACH |  | 0
36 | J10 | SECONDARY ATTACHMENT | 26 | EACH |  | 0
37 | K10 | SERVICE ATTACHMENT | 18 | EACH |  | 0
38 | K11 | SERVICE ATTACHMENT | 55 | EACH |  | 0
39 | K16 | SERVICE ATTACHMENT | 11 | EACH |  | 0
40 | KSE | SERVICE ATTACHMENT | 51 | EACH |  | 0
41 | M2-11 | POLE GROUND | 42 | EACH |  | 0
42 | M5-5 | CROSSARM PIN | 14 | EACH |  | 0
43 | M5-20 | PHASE DEADEND | 1 | EACH |  | 0
44 | M5-21 | LINK-OUT | 2 | EACH |  | 0
45 | M5-23P | GUY STRAIN INSULATOR | 3 | EACH |  | 0
46 | M26-5 | STREET LIGHT | 20 | EACH |  | 0
47 | M52-3 | POLE NUMBER | 145 | EACH |  | 0
48 | N6 | NEUTRAL DEADEND | 4 | EACH |  | 0
49 | R2-20 | CLEARING | 1 | LOT |  | 0
50 | #2 COPPER XHHW | UG SECONDARY CABLE | 100 | FEET |  | 0
51 | #2-#2-#2 URD | UG TRIPLEX SEC. CABLE | 405 | FEET |  | 0
52 | 4/0-2/0-4/0 URD | UG TRIPLEX SEC. CABLE | 820 | FEET |  | 0
53 | HDPE2 | 2" HDPE CONDUIT | 890 | FEET |  | 0
54 | PLUG/PATCH | PLUG HOLE IN SCHOOL XFMR PAD | 1 | EACH |  | 0
55 | RSC2LS | 2" CONDUIT ELBOW, LONG SWEEP | 7 | EACH |  | 0
56 | UG-SVC-RISER-TRANS | UG SVC CONDUIT TO RISER CONNECTION | 8 | EACH |  | 0
57 | UK5 | SECONDARY PEDESTAL | 5 | EACH |  | 0
58 | UM5/2 | 2" SECONDARY RISER | 7 | EACH |  | 0
59 | UR2-5 | TRENCH | 465 | FEET |  | 0
60 | UR2C-5 | COMPACTED TRENCH | 170 | FEET |  | 0
61 | *OH MULTIPLEX | RETIRE SECONDARY CABLE | 8300 | FEET |  | 0
62 | *ACSR | RETIRE PRIMARY CABLE | 21500 | FEET |  | 0
63 | *POLE | RETIRE POLE | 23 | EACH |  | 0
64 | TOP | CUT-OFF TOP OF POLE | 10 | EACH |  | 0
65 | *A7d | RETIRE DEADEND | 11 | EACH |  | 0
66 | *A8d | RETIRE DEADEND | 1 | EACH |  | 0
67 | *A9d | RETIRE SMALL ANGLE | 1 | EACH |  | 0
68 | *A9-1d | RETIRE TANGENT | 13 | EACH |  | 0
69 | *C1d | RETIRE TANGENT | 24 | EACH |  | 0
70 | *C1dX | RETIRE SEMI-TANGENT | 4 | EACH |  | 0
71 | *C2d | RETIRE SMALL ANGLE | 2 | EACH |  | 0
72 | *C7d | RETIRE DEADEND | 10 | EACH |  | 0
73 | *C8d | RETIRE DEADEND | 2 | EACH |  | 0
74 | *E1-3 | RETIRE DOWNGUY | 37 | EACH |  | 0
75 | *E2-3 | RETIRE SPAN GUY | 2 | EACH |  | 0
76 | *F1-4P | RETIRE ANCHOR | 27 | EACH |  | 0
77 | *J6 | RETIRE SECONDARY ATTACHMENT | 122 | EACH |  | 0
78 | *K11 | RETIRE SERVICE ATTACHMENT | 108 | EACH |  | 0
79 | *K16 | RETIRE SERVICE ATTACHMENT | 21 | EACH |  | 0
80 | *M2-11 | RETIRE POLE GROUND | 11 | EACH |  | 0
81 | *M26-5 | RETIRE STREETLIGHT | 12 | EACH |  | 0
82 | *XFMR | RETIRE XFMR <51kVA | 29 | EACH |  | 0
83 | *75 kVA XFMR | RETIRE 75 kVA XFMR | 3 | EACH |  | 0
84 | *UM5 | RETIRE SECONDARY RISER | 1 | EACH |  | 0
85 | Freight owner furnished materials | Lump Sum Freight | 1 | Lump Sum |  | 0
86 | Free Cell | Ancillary Items if any | 1 | Lump Sum |  | 0
LUMP SUM BID: |  | 0
Company Submitting Bid |  |  |  | Alaska Business Number
Authorized Signature |  |  |  | Email Address
Print Name and Title |  |  |  | Date
Form 00320
aaa
This page is blank intentionally.
Acknowledge Addenda ______ ______ ______ ______ ______ ______ ______